## Slide 1: Digital Signal Processing
Fall 2025

## Slide 2: What we will talk about today
Quantization noise
Adding uncorrelated Gaussian noise
Analog/Digital conversion
Aliasing
Nyquist theorem

## Slide 3: Analog Signals are often Sampled to Make Digital Signals
Chart: Circuit Voltage
Chart: Circuit Voltage

## Slide 4: Analog Signals are often Sampled to Make “Digital” Signals
Chart: Circuit Voltage
| 5.0000000000000031E-2 | 5.0000000000000031E-2 | 5.2000000000000032E-2 | 5.2000000000000032E-2 | 5.4000000000000034E-2 | 5.4000000000000034E-2 | 5.6000000000000036E-2 | 5.6000000000000036E-2 | 5.8000000000000038E-2 | 5.8000000000000038E-2 | 6.0000000000000039E-2 | 6.0000000000000039E-2 | 6.2000000000000041E-2 | 6.2000000000000041E-2 | 6.4000000000000043E-2
 | 2.1569 | 2.1961 | 2.1961 | 2.2353 | 2.2353 | 2.2353 | 2.2353 | 2.2745 | 2.2745 | 2.3137 | 2.3137 | 2.3529 | 2.3529 | 2.3922 | 2.3922
Original | 2.1804 | 2.2164 | 2.2518 | 2.2864 | 2.3203 | 2.3536 | 2.3862 | 2.4181
Samples every 2 mS
Values are “Quantized”
Output of A/D Converter
Circuit Voltage
For each sample the actual value is rounded to the nearest quantized value
The quantized value is held constant until the next sample is taken
Quantization error
10 for this example
8 for this example
If signal variation >> Step size
Sampling period, T

## Slide 5: Example: Specifying A/D converter based upon Quantization noise
Problem: A quiet signal (with a minimal level of noise) has a range from -10 Volts to +10 Volts. The signal is to be digitized by an A/D converter. The maximum noise level permissible in the digitized signal is 10 mV rms. How many bits of accuracy must the A/D converter have?
10 bits required

## Slide 6: Noise in Signals
Chart: Sinusoidal Function Without Noise
Chart: Sinusoidal Function With Noise
All signals have some noise

## Slide 7: Noise in Signals
Noise usually has a Gaussian distribution
Chart: Standard Normal Distribution
Bell curve
Terms to know:
Average
(mean)
Standard deviation
Variance

## Slide 8: Definitions of the word mean:
Definition
What does that word mean?
What is the definition of that word?
What do you mean?
What thought are you trying to indicate?
to treat poorly
He was mean to me.
He treated me poorly.
The average of a group of numbers
The mean of 4, 6, 8, and 10 is 7
Normal people talking
Scientists, mathematicians, or engineers talking
symbol (estimated mean): line over the variable name
symbol (true mean):

## Slide 9: Noise in Signals
Noise usually has a Gaussian distribution
Chart: Standard Normal Distribution
Bell curve
Terms to know:
Average
(mean)
Standard deviation
Variance
How spread out the data are

## Slide 10: Variance
σ2
For each of a group of N numbers
Subtract the mean from the number
Square the result
Add together the results
Divide by how many numbers there are
Standard Deviation = σ
This is the formula for the variance of an entire group of numbers
If the numbers are a sample of a larger group, the formula changes
(N – 1)
Divide by one less than how many numbers there are

## Slide 11: Data with different standard deviations
mean = 6.1
Chart: Distribution Around the Mean for Data Set 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
 | 6.3579 | 6.2603 | 5.1105 | 7.8241 | 4.2979 | 4.8514 | 5.5103 | 7.6506 | 7.1514 | 5.8676 | 6.1409 | 5.2311 | 5.96 | 5.5189 | 6.5905 | 5.7914 | 7.1552 | 6.7791 | 5.7723 | 4.9566 | 6.7328 | 4.2374 | 5.782 | 6.1169 | 6.5504 | 6.263 | 4.5029 | 6.6346 | 6.4576 | 7.3033 | 5.5203 | 4.8486 | 6.5459 | 5.6166 | 4.7315 | 5.9529 | 5.3937 | 7.6892 | 5.7882 | 6.1885 | 6.2834 | 5.3421 | 5.5077 | 4.5731 | 8.0334 | 5.5403 | 4.0854 | 6.6558 | 6.2209 | 6.4049
Average | 6.0079 | 6.0079
Chart: Distribution Around the Mean for Data Set 2
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
 | 5.5517 | 6.2888 | 5.9795 | 6.2725 | 7.0067 | 6.8511 | 6.0046 | 5.243 | 6.7003 | 6.22 | 5.8539 | 6.2049 | 5.1764 | 6.9364 | 6.0096 | 5.1738 | 6.841 | 6.7615 | 6.0085 | 6.2435 | 5.9484 | 5.1948 | 5.9018 | 5.7353 | 6.4327 | 5.6068 | 5.6755 | 5.3883 | 5.0006 | 5.1376 | 5.8565 | 6.375 | 6.4439 | 6.3356 | 6.7282 | 6.427 | 6.5043 | 5.2924 | 5.5274 | 5.9916 | 6.0738 | 6.311 | 6.2148 | 5.2492 | 6.8492 | 6.4953 | 5.7267 | 4.8359 | 7.0706 | 6.708
Average | 6.1016 | 6.1016
mean = 6.0
σ = 0.56
σ = 0.94

## Slide 12: Standard Normal Distribution
Chart: Standard Deviations from the Mean
A value close to the average (or mean) is likely to occur
A value far from the average (or mean) is less likely to occur
Chart: 
| -0.99999999999999833 | -0.89999999999999836 | -0.79999999999999838 | -0.6999999999999984 | -0.59999999999999842 | -0.49999999999999845 | -0.39999999999999847 | -0.29999999999999849 | -0.19999999999999848 | -9.9999999999998479E-2 | 1.5265566588595902E-15 | 0.10000000000000153 | 0.20000000000000154 | 0.30000000000000154 | 0.40000000000000158 | 0.50000000000000155 | 0.60000000000000153 | 0.70000000000000151 | 0.80000000000000149 | 0.90000000000000147 | 1.0000000000000016
 | 0.24197 | 0.26609 | 0.28969 | 0.31225 | 0.33322 | 0.35207 | 0.36827 | 0.38139 | 0.39104 | 0.39695 | 0.39894 | 0.39695 | 0.39104 | 0.38139 | 0.36827 | 0.35207 | 0.33322 | 0.31225 | 0.28969 | 0.26609 | 0.24197
The area under the curve (integral) gives the probability that a measurement will be within those bounds
mean of zero
standard deviation of one
68 % of data should be within one standard deviation of the mean

## Slide 13: Data with different standard deviations
mean = 6.1
Chart: Distribution Around the Mean for Data Set 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
 | 6.3579 | 6.2603 | 5.1105 | 7.8241 | 4.2979 | 4.8514 | 5.5103 | 7.6506 | 7.1514 | 5.8676 | 6.1409 | 5.2311 | 5.96 | 5.5189 | 6.5905 | 5.7914 | 7.1552 | 6.7791 | 5.7723 | 4.9566 | 6.7328 | 4.2374 | 5.782 | 6.1169 | 6.5504 | 6.263 | 4.5029 | 6.6346 | 6.4576 | 7.3033 | 5.5203 | 4.8486 | 6.5459 | 5.6166 | 4.7315 | 5.9529 | 5.3937 | 7.6892 | 5.7882 | 6.1885 | 6.2834 | 5.3421 | 5.5077 | 4.5731 | 8.0334 | 5.5403 | 4.0854 | 6.6558 | 6.2209 | 6.4049
Average | 6.0079 | 6.0079
Chart: Distribution Around the Mean for Data Set 2
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
 | 5.5517 | 6.2888 | 5.9795 | 6.2725 | 7.0067 | 6.8511 | 6.0046 | 5.243 | 6.7003 | 6.22 | 5.8539 | 6.2049 | 5.1764 | 6.9364 | 6.0096 | 5.1738 | 6.841 | 6.7615 | 6.0085 | 6.2435 | 5.9484 | 5.1948 | 5.9018 | 5.7353 | 6.4327 | 5.6068 | 5.6755 | 5.3883 | 5.0006 | 5.1376 | 5.8565 | 6.375 | 6.4439 | 6.3356 | 6.7282 | 6.427 | 6.5043 | 5.2924 | 5.5274 | 5.9916 | 6.0738 | 6.311 | 6.2148 | 5.2492 | 6.8492 | 6.4953 | 5.7267 | 4.8359 | 7.0706 | 6.708
Average | 6.1016 | 6.1016
mean = 6.0
σ = 0.56
σ = 0.94

## Slide 14
Chart: Normal Distributions with μ = 6
Changing the mean causes the distribution to be displaced along the x axis
Chart: Standard Normal Distribution

## Slide 15
Chart: Normal Distributions with μ = 6
Changing the standard deviation causes the distribution to become wider or narrower
A larger standard deviation causes the distribution to become wider

## Slide 16
Chart: Normal Distributions with μ = 6
A smaller standard deviation causes the distribution to become narrower

## Slide 17: Noise in Signals
Quantization error adds to other noise sources to determine the overall noise
Noise considerations can influence our choice of A/D converter
Noise is usually Gaussian
For uncorrelated sources of Gaussian noise, the variances add

## Slide 18: Example2: Determining total noise when two noise sources contribute
Problem: A signal has a range from -10 Volts to +10 Volts and contains noise that has a root-mean-squared (rms) value of 1 mV. The signal is to be digitized by a 12-bit A/D converter. What will be the noise level in the output of the A/D converter?
Find quantization noise
This is standard deviation
We need to add variances
Quantization has increased the rms noise level by 73%
It is decided that the quantization noise should increased the rms noise level by no more than 10%
What is the minimum number of A/D conversion bits to accomplish this?

## Slide 19: Example2b: Determining total noise when two noise sources contribute
Problem: A signal has a range from -10 Volts to +10 Volts and contains noise that has a root-mean-squared (rms) value of 1 mV. What is the minimum number of A/D conversion bits so that the overall noise level is not increased by more than 10%?
Find quantization noise (rms)
Find step size
Find number of bits

## Slide 20: Analog Signals are often Sampled to Make “Digital” Signals
Chart: Circuit Voltage
| 5.0000000000000031E-2 | 5.0000000000000031E-2 | 5.2000000000000032E-2 | 5.2000000000000032E-2 | 5.4000000000000034E-2 | 5.4000000000000034E-2 | 5.6000000000000036E-2 | 5.6000000000000036E-2 | 5.8000000000000038E-2 | 5.8000000000000038E-2 | 6.0000000000000039E-2 | 6.0000000000000039E-2 | 6.2000000000000041E-2 | 6.2000000000000041E-2 | 6.4000000000000043E-2
 | 2.1569 | 2.1961 | 2.1961 | 2.2353 | 2.2353 | 2.2353 | 2.2353 | 2.2745 | 2.2745 | 2.3137 | 2.3137 | 2.3529 | 2.3529 | 2.3922 | 2.3922
Original | 2.1804 | 2.2164 | 2.2518 | 2.2864 | 2.3203 | 2.3536 | 2.3862 | 2.4181
Samples every 2 mS
Values are “Quantized”
Circuit Voltage
Chart: 
A/D Sampling Process
(sample and hold)

## Slide 21
Chart: Circuit Voltage
| 5.0000000000000031E-2 | 5.0000000000000031E-2 | 5.2000000000000032E-2 | 5.2000000000000032E-2 | 5.4000000000000034E-2 | 5.4000000000000034E-2 | 5.6000000000000036E-2 | 5.6000000000000036E-2 | 5.8000000000000038E-2 | 5.8000000000000038E-2 | 6.0000000000000039E-2 | 6.0000000000000039E-2 | 6.2000000000000041E-2 | 6.2000000000000041E-2 | 6.4000000000000043E-2
 | 2.1569 | 2.1961 | 2.1961 | 2.2353 | 2.2353 | 2.2353 | 2.2353 | 2.2745 | 2.2745 | 2.3137 | 2.3137 | 2.3529 | 2.3529 | 2.3922 | 2.3922
Chart: 
| 5.0000000000000031E-2 | 5.0000000000000031E-2 | 5.2000000000000032E-2 | 5.2000000000000032E-2 | 5.4000000000000034E-2 | 5.4000000000000034E-2 | 5.6000000000000036E-2 | 5.6000000000000036E-2 | 5.8000000000000038E-2 | 5.8000000000000038E-2 | 6.0000000000000039E-2 | 6.0000000000000039E-2 | 6.2000000000000041E-2 | 6.2000000000000041E-2 | 6.4000000000000043E-2
 | 2.1569 | 2.1961 | 2.1961 | 2.2353 | 2.2353 | 2.2353 | 2.2353 | 2.2745 | 2.2745 | 2.3137 | 2.3137 | 2.3529 | 2.3529 | 2.3922 | 2.3922
Chart: 
| 5.0000000000000031E-2 | 5.2000000000000032E-2 | 5.4000000000000034E-2 | 5.6000000000000036E-2 | 5.8000000000000038E-2 | 6.0000000000000039E-2 | 6.2000000000000041E-2 | 6.4000000000000043E-2
 | 2.1961 | 2.2353 | 2.2353 | 2.2745 | 2.3137 | 2.3529 | 2.3922 | 2.3922
Sample Number (n)
1
2
3
4
5
6
7
0
26
27
28
29
30
31
32
25
Sample and Hold Output
Digital signals have discrete values
Horizontal axis is no longer time
Sample number may be related to time
(both on the x axis and the y axis)

## Slide 22: Nyquist Theorem and Aliasing
If sampling is done correctly, the original signal can be exactly reconstructed
We will now look at the requirements to achieve this
First we will look at some proper sampling
Then we will see what can go wrong

## Slide 23: Nyquist Theorem and Aliasing
Sample at 10 kHz
Chart: 1 kHz Signal
Chart: 

## Slide 24: Nyquist Theorem and Aliasing
Sample at 6.5 kHz
Chart: 1 kHz Signal
Chart: 
Chart: 

## Slide 25: Nyquist Theorem and Aliasing
Sample at 3.3 kHz
Chart: 1 kHz Signal
Chart: 
Chart: 

## Slide 26: Nyquist Theorem and Aliasing
Sample at 2.2 kHz
Chart: 1 kHz Signal
Chart: 
Chart: 
Chart: 

## Slide 27: Nyquist Theorem and Aliasing
Sample at 1.8 kHz
Chart: 1 kHz Signal
Chart: 
Chart: 
Chart: 
Chart: 

## Slide 28: Nyquist Theorem and Aliasing
Sample at 2.2 kHz
Chart: 1 kHz Signal
Chart: 
Chart: 
Sample at 1.8 kHz

## Slide 29: Nyquist Theorem and Aliasing
Consider a sinusoidal signal:
If we sample it at a frequency fs, the sampling period will be
The data points will be given by:
The time that we reach the nth data point

## Slide 30: Nyquist Theorem and Aliasing
This same series of data points would be obtained if the frequency was
where k is any integer
We can prove this by substituting the expression and using some trigonometry

## Slide 31: Nyquist Theorem and Aliasing
multiply things out (distribute multiplication over addition)
Cancel the sampling frequency, fs

## Slide 32: Nyquist Theorem and Aliasing
n and k are both integers
This term represents a phase change of an integer multiple of 2 which does not change the value of the cosine function
This is the exact same sequence of values that we had previously

## Slide 33: Nyquist Theorem and Aliasing
Chart: 1 kHz Signal
Chart: 
Chart: 
Sample at 1.1 kHz
100 Hz curve

## Slide 34: Nyquist Theorem and Aliasing
Chart: 1 kHz Signal
Sample at 1.5 kHz
500 Hz curve
Chart: 
Chart: 

## Slide 35: Nyquist Theorem and Aliasing
Sample at 1.8 kHz
Chart: 1 kHz Signal
Chart: 
Chart: 
Chart: 
Chart: 
Chart: 
800 Hz curve

## Slide 36: Nyquist Theorem and Aliasing
To prevent aliasing, the sampling frequency must be at least twice the frequency of the highest frequency present in the signal
If these conditions (Nyquist criterion) are met, then the original analog signal can be successfully restored

## Slide 37: Nyquist Theorem and Aliasing
Remember that periodic nonsinusoidal signals can have harmonics at much higher frequencies than the fundamental frequency
Fourier coefficients
1 mS
fo = 1 kHz
also components at 2 kHz, 3 kHz, 4 kHz …
These higher frequency components can cause aliasing
Signals are often low pass filtered prior to sampling

## Slide 39
Practice Problems

## Slide 40
Problem 1: A signal has a range from 0 Volts to +5 Volts and contains noise that has a root-mean-squared (rms) value of 2 mV. The signal is to be digitized by an A/D converter. The maximum permissible noise (after conversion) is 2.2 mV rms. What is the minimum number of bits for the A/D converter? What will be the noise level in the output of the A/D converter if this number of bits are used?

## Slide 41
Each of the signals below is to be sampled at the indicated frequency or period.
Indicate if aliasing will occur
If aliasing will occur, indicate the frequency at which the aliased signal will appear
If aliasing will occur, state the minimum sampling frequency (or maximum sampling period) needed to prevent aliasing
sampled at a frequency of 1000 Hz
sampled at a period of 25 mS
sampled at a period of 10 mS
sampled at a frequency of 800 Hz